Roll No:

Sir Issac Newton College of Engineering and Technology-Nagapattinam

MODEL EXAM

Fifth  Semester

Mechanical Engineering

ME8595 THERMAL ENGINEERING II

Date :30.11.2022				             				  Session    :  FN

Time: 9.30am to 12.30 pm                                         				Maximum  :  100 marks

Answer ALL Questions

PART - A (10 X 2 = 20 marks)

| Q.NO | Questions | Marks | CO | BL | PO |
| --- | --- | --- | --- | --- | --- |
| 1 | Define nozzle. | 2 | CO1 | L1 | 9 |
| 2 | Write the defination of critical pressure ratio. | 2 | CO1 | L1 | 9 |
| 3 | Mention the purpose of boiler testing and trial. | 2 | CO2 | L2 | 9 |
| 4 | State the importants of fusible plug. | 2 | CO2 | L1 | 9 |
| 5 | What is the operating principle of reaction turbine? | 2 | CO3 | L1 | 9 |
| 6 | Define blade velocity coefficient in impulse turbine. | 2 | CO3 | L1 | 9 |
| 7 | What is meant by combined cycle cogeneration? | 2 | CO4 | L2 | 8 |
| 8 | List out the sources of waste heat in a diesel engine. | 2 | CO4 | L2 | 8 |
| 9 | State the importants of air contioning. | 2 | CO5 | L1 | 9 |
| 10 | Define refrigeration and air contioning. | 2 | CO5 | L1 | 9 |

PART- B (5X 13 = 65 marks)

| Q.NO | Questions | Marks | CO | BL | PO |
| --- | --- | --- | --- | --- | --- |
| 11. | (a). Dry saturated steam at 2.8 bar is expanded through a convergent nozzle to 1.8 bar. The exit area is 3 cm2. Calculate the exit velocity and mass flow rate for (i) isentropic expansion and (ii) supersaturated flow. | 13 | CO1 | L4 | 2 |
|  | Or |  |  |  |  |
|  | (b). A convergent- divergent adiabatic steam nozzle is supplied with steam at 10 bar and 3000 C. The discharge pressure is 1.2 bar. Assuming that the nozzle efficiency is 100% and initial velocity of steam is 50m/s, find the discharge velocity. | 13 | CO1 | L4 | 2 |
| 12. | (a). Explain the any one low pressure boiler in detail. | 13 | CO2 | L1 | 9 |
|  | Or |  |  |  |  |
|  | (b) An I.C. engine uses 6 kg fuel having calorific value 44000 kJ/kg. in one hour. The brake power developed is 18kW. The temperature of 11.5 kg of cooling water found to rise through 25 0C per minute. The temperature of 4.2 kg of exhaust gas with specific heat 1 kJ/kg K was found to rise though 220 0C. Draw heat balance sheet for the engine. | 13 | CO2 | L1 | 9 |
| 13. | (a). The steam supply to an impulse turbine with a single row of moving blade is 3 kg/s. the turbine develops 150 KW, the blade velocity is being 150m/s. the steam flows from a nozzle with a velocity of 450 m/s and the coefficient of velocity of blade is 0.95. Find the nozzle angle, blade angle at entry and exit if the steam flows axially after passing over the blades. | 13 | CO3 | L4 | 2 |
|  | Or |  |  |  |  |
|  | (b)Describe briefly the various methods of steam turbine governing. | 13 | CO3 | L4 | 2 |
| 14. | (a) Analyze the different contemporary applications of cogenerations principles. | 13 | CO4 | L4 | 2 |
|  | Or |  |  |  |  |
|  | (b) Explain the working of Ammonia Water “Neo-Gen” system with a neat sketch. | 13 | CO4 | L1 | 2 |
| 15. | (a). Air conditioning plant is required to supply 50 m3 of air per minute at a DBT of 22 0c and 50% RH. The atmospheric condition is 320c with 65% RH. Determine the mass of moisture removed and capacity of cooling coil if the required is obtained by dehumidification and sensible cooling process. Also calculate the sensible heat factor. | 13 | CO5 | L2 | 2 |
|  | Or |  |  |  |  |
|  | (b). Sketch and explain the Lithium Bromide water absorption system. | 13 | CO5 | L1 | 9 |

PART- C (1 X 15 = 15 marks)

| 16. | (a) It is required to design an air conditioning system for an industrial process for the following hot and wet summer conditions. Outdoor conditions = 150C DBT and 10oC WBT Required air inlet conditions = 200C DBT and 50% of RH Amount of free air circulated = 0.25 m3/min, (each person) Sealing capacity = 50 persons The required condition is achieved by first by heating and then by adiabatic humidification. Calculate the following (i) capacity of heating coil in kw.(ii) capacity of humidifier.. | 15 | CO5 | L3 | 9 |
| --- | --- | --- | --- | --- | --- |
|  | Or |  |  |  |  |
|  | (b) Steam enters the blade row of an impulse turbine with a velocity of 500 m/s at an angle of 300 to the plane of rotation of the blades. The mean blade speed is 280 m/s. the blade angle on the exit side is 350. The blade friction coefficient is 12% loss. Determine the Blade angle at inlet Work done per kg of stream Diagram efficiency Axial thrust per kg of steam per second. | 15 | CO3 | L4 | 9 |

| BT LEVEL | CO1 | CO2 | CO3 | CO4 | CO5 | CO6 | % |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Remember | Q. Nos | 1,2 | 3 | 5,6 | 14(b) | 9 |  | 13.88 |
|  | Marks | 4 | 2 | 4 | 13 | 2 |  |  |
| Understand | Q. Nos |  | 12(a) |  | 7,8, | 15(b) |  | 16.66 |
|  | Marks |  | 13 |  | 4 | 13 |  |  |
| Applying | Q. Nos | 16(a) | 4,12(b) |  |  | 10,15(a) |  | 25.00 |
|  | Marks | 15 | 15 |  |  | 15 |  |  |
| Analysing | Q. Nos | 11(a), 11(b), |  | 13(a), 13(b) | 14(a) | 16(b) |  | 44.44 |
|  | Marks | 26 |  | 26 | 13 | 15 |  |  |
| Total | 45 | 30 | 30 | 30 | 45 |  | 100 |

| IQAC Member | HOD / Mech |
| --- | --- |